This reduces the number of  program steps which is very important since current  E10 model can only support no more than 90 program steps.

EQUIVALENT CIRCUITS

5. Program Step Size Calculation

For TLE33.EXE, the step sizes occupied by the contacts,  coils and special functions are different from TL3x.EXE.  Most program elements occupy only one program step, with the following exceptions occupying two steps each.

|  | Symbol | Step Size |
| --- | --- | --- |
| 1 |  | 2 |
| 2 |  | 2 |
| 3 |  | 2 |
| 4 |  | 2 |
| 5 |  | 2 |
| 6 | ENDLOGIC - Not shown on ladder diagram, but always used at the end of each program | 2 |

Every time you execute a simulation command while in TLE33.EXE, the ladder program will be compiled and the number of steps used is shown in a message window.  This is intended to help you to be careful about  the total number of  steps used in the program. If your program exceeds the maximum number of steps (90 steps for E10 at this moment), you will not be able to download the program to the PLC and you will need to simplify the program.

E-4

1. Installation Guide for E10-Relay PLC

E10-Relay has a built-in power supply unit, hence requiring only a small 24V AC transformer to power it. The power supply also provides a 24V DC output for connection to sensors. Up to 0.1A current available for sensors when using a 0.2A transformer.  DC ground (0V) may be tapped from the heatsink tab of the 7805 votage regulator. The input is triggered by connecting a switch to the +24VDC output. PNP type sensor can be interfaced directly. With a pull up resistor NPN sensors may also be used, although the logic state for the input contact in the ladder program should be inverted.

2. Special TRiLOGI for E10: Overview of TLE33.EXE

TLE33.EXE is a special version of TRiLOGI meant only for the E-10. Because of the smaller number of I/Os, timers & counters available on the E-series PLC, TLE33 sets the following maximum limits on ladder programs before they can be successfully simulated and downloaded to the PLC:

| Inputs | 8 |
| --- | --- |
| Outputs | 6 |
| Internal Relays | 8 |
| Timers | 4 |
| Counters | 4 |
| Sequencer | 1 |
| Maximum Program Steps | 90 |

Note that for timers and counters, the range of preset value is between 0 and 254, whereas for TL3x.EXE (TL31.EXE to TL33.EXE) it is between 0 and 9999. In addition, only a limited number of special bits and special functions are supported.

E-1

To  better differentiate program files created by the TLE33.EXE and the TL3x.EXE, all TLE33.EXE files use ".PE3" as the default file extension instead of the ".PC3" used in TL3x.EXE. Although TLE33.EXE may open and display ladder program files created by TL3x.EXE,  it will not allow you to perform simulation if the program uses more I/Os or special functions which are not supported by E10.

3. Special Bits Menu

Only Sequencer #1, the 0.01s clock pulse bit "Clk:.01s" and the 1 second clock pulse bit "Clk:1.0s" are supported. The unavailable items are marked as "x:---" to indicate that the menu item is available on TL3x.EXE but not TLE33.EXE.

4. Special Functions Menu

The Special Function Menu as shown above doesn't support the [Upctr], [AVseq], [RSeq] and the [MaRST] functions. The [Step0] function of TL32.EXE is replaced by a more powerful [StepN] function (which is also available in TL33.EXE).

E-2

In addition, a useful special function [LDHex] can be used to set the present value of the Sequencer #1 to that of the hexadecimal or BCD value formed by Inputs #4, 3, 2 & #1.  The features of these deletions/additions are explained below.

a.   Using Sequencer #1

Since TLE33.EXE does not support [AVseq] & [Upctr] functions, you can only use the normal down counter coil "--------(Ctr)" to decrement the value of Counter #1, which is used as the step counter of Sequencer #1.

Define Counter #1 with the name "Seq1", and you can initiate it to any step number between 0 and 31 using the [StepN] function.  [StepN] function is an extension to the [Step0] function (which only sets the sequencer to step #0).  When you create the [StepN] special function, it will ask you to select the sequencer (only Seq1 available here) as well as the step number N to set it to.

As the process progresses from one step to another, decrement the sequencer using the normal counter coil. As described in TRiLOGI Programmer's Reference, each step of the sequencer such as "Seq1:5", "Seq1:29" can be used as a contact for in the ladder diagram. When the sequencer reaches the final step (usually Step #0), use the [StepN] again to set it back to the initial value. In your new TRiLOGI diskette, a sample  file "Seqtest.PE3" uses the sequencer to perform its job.

b.   [LDHex] Function

The [LDHex] function is an extremely convenient feature for applications that require external setting of timer/counter value using a thumbwheel switch. A thumbwheel switch typically has 10 or 16 positions and 4 binary outputs which are used to represent the position of the wheel.  Connect the 4 outputs of the thumbwheel switch to the Inputs #4, #3, #2 and #1 of E10 and the common output of the thumbwheel switch to (-) terminal of the E10 power supply terminal, as shown in the following diagram:

Note that Input #4 is the most significant bit and Input #1 the least significant bit. Next construct a ladder diagram using the [LDHex] function as follow:

When Input #5 is ON, the Counter #1's present value will be loaded with the hexadecimal/BCD number formed by Inputs #4,3,2 & 1. Since Counter #1 is also Sequencer #1, its step number can be used as a decoded signal for decision making.

E-3